SECTION 7

VIRTUAL

REPAIR AND MAINTENANCE OF EQUIPMENT

Table of Contents

Repair and Maintenance of Equipment…………………………… . 3

Specific Responsibilities………………………………………………….……6 Collocator Responsibilities…………………………………………………..6

AT&T Responsibilities………………………………………………………… 7

Alarm Collection……………..…………………………………………………..8

Mean Time Response Interval……………………………………………..8

Training Requirements………………………………………………………..9

This document currently covers the following AT&T Local Exchange Carriers

AT&T-Southwest (Texas, Missouri, Oklahoma, Kansas, and Arkansas)

AT&T-West (California and Nevada)

AT&T-Midwest (Ohio, Wisconsin, Illinois, Michigan and Indiana)

This document currently covers the following AT&T Local Exchange Carriers

AT&T-Southwest (Texas, Missouri, Oklahoma, Kansas, and Arkansas)

AT&T-West (California and Nevada)

AT&T-Midwest (Ohio, Wisconsin, Illinois, Michigan and Indiana)

NOTE: Information supplied in this Handbook is for informational purposes only. For detailed and contractual information please refer to your current contract with AT&T such as ICA’s, Tariffs or other legally binding contracts in your specific region. All such contracts take precedent over information supplied in this handbook document.

NOTE: Information supplied in this Handbook is for informational purposes only. For detailed and contractual information please refer to your current contract with AT&T such as ICA’s, Tariffs or other legally binding contracts in your specific region. All such contracts take precedent over information supplied in this handbook document.

REPAIR AND MAINTENANCE OF EQUIPMENT

Repair and Maintenance of Equipment

Except in emergency situations, and/or except when AT&T network reliability is at risk, the Collocator will initiate the repair and maintenance process by contacting the AT&T LOC.  Collocator-owned fiber optic facilities and central office terminating equipment will be repaired and maintained only upon the request and direction of the Collocator.  In an emergency, AT&T may perform necessary repairs without prior notification or both Parties agree to delineate methods and procedures for emergency notification handling with the LOC.  The labor rates applicable to Virtual Collocation are contained within the State specific Appendix Pricing that apply to AT&T Central Offices and AT&T CEVs, Huts, and Cabinets for all maintenance and repairs performed at the direction of the Collocator by AT&T.

When initiating repair or maintenance requests of Collocator provided virtually collocated equipment, Collocator shall provide AT&T Local Operations Center with the following:

•	Notification that the purpose of the call is to establish a virtual collocation trouble ticket

•	AT&T Eligible Structure's CLLI, circuit identification and/or telephone number

•	Location of virtually collocated equipment (bay, frame, shelf, circuit pack, location and type)

•	A detailed description of the trouble

•	The name and telephone number of the Collocator's employee who will cooperatively test with AT&T at no charge to AT&T

•	The type of the trouble

When AT&T technician calls Collocator to perform a repair initiated by a trouble ticket, Collocator will provide the AT&T technician with the proper sequencing of repair tasks, including any testing necessary to determine needed repairs.

AT&T is not obligated to provide any test equipment to support the Collocator's equipment.  To the extent that test equipment owned by AT&T is located in the central office with the Collocator's equipment, is compatible with Collocator's equipment and is not currently being used to repair AT&T owned equipment, AT&T can use this test equipment for test operations directed by the Collocator.   AT&T assumes no liability for damage to Collocator's equipment caused by using AT&T test equipment.   AT&T is not

obligated to move test equipment from one central office to another or to provide any test equipment specifically for use on Collocator's equipment.  AT&T is under no obligation to provide lists of test equipment available at central offices and availability is not implied or guaranteed.  Test set availability can only be guaranteed by the Collocator  providing  test  equipment  for  their  exclusive  use  in  maintaining  their equipment.

The Collocator may request AT&T to perform routine maintenance and scheduled events, at mutually agreed upon times, which will be billed on a time and material basis.   When requesting maintenance on Collocator owned equipment, Collocator  shall  provide  AT&T  with  location  and  identification  of  the equipment, a detailed description of the maintenance requested, and the estimated time required to perform the routine maintenance.

For routine maintenance, product upgrades, PCN's, Engineering Complaints, and generic  upgrades, etc.  covered  by  the  Manufacturer's warranty, the  Collocator will contact the LOC to arrange access for the Manufacturer or Collocator's AT&T Approved Supplier to perform the warranty work and escort charges will apply as described in the  Mean Time Response Interval (MTRI) section of this handbook (Mean Time Response Interval).  For service affecting problems covered by the Manufacturer's warranty, AT&T shall perform repairs as described in the Mean Time Response Interval (MTRI) section of  this handbook.

Upon notification by the Collocator and availability of spare parts as provided by the Collocator, AT&T will be responsible for repairing and maintaining the Virtually Collocated equipment at the same standards that it repairs its own equipment.

The  Collocator  is  responsible  for  notifying  AT&T  of  any  planned activities in their virtually collocated equipment that might affect AT&T’s equipment in advance of such work as outlined in the TP76300 Installation Guide.

AT&T is responsible for notifying the Collocator of significant outages or operations problems that could impact or degrade Collocator network or services and shall provide an estimated time of clearing for restoration. When trouble has been identified, AT&T is responsible for providing trouble status reports when requested by the Collocator.

AT&T is responsible for maintaining 7 X 24 maintenance and repair schedule  for  the  Collocator's  virtual  collocation  equipment  at  the  direction  of  the Collocator on at a time and material basis, however, maintenance and repair will only be provided on a 7 X 24 basis if the Collocator trains the adequate number of AT&T-

12STATE personnel provided to the Collocator per Eligible Structure.

Upon mutual agreement, when service-affecting reports cannot be restored and it is determined support is necessary, the Collocator's AT&T Approved Supplier may enter the Eligible Structure to assist in troubleshooting and resolving problems associated with  the  trouble  report.    If  AT&T, working  with  the  Collocator

believes that it would be helpful to have them on site to aid in troubleshooting, it will so request. Charges for an escort will apply in either situation.

Specific Responsibilities

Collocator Responsibilities

The Collocator must provide the following (at its expense):

•	At least the minimum number of usable equipment spares specified by the manufacturer

•	Replacements for any recalled, obsolete, defective, or damaged facilities, equipment, plug-ins, circuit packs, unique tools, test equipment, or any other item or material provided by the Collocator for placement in/on AT&T-

12STATE property

•	Replacements must be delivered to the AT&T central office or

AT&T designated location using the equipment spare within five (5)

business days of notification that a spare was used or tested defective

•	A stock of such items (excluding unique tools and test equipment) to AT&T-

12STATE to replace non-functioning items when needed, with a goal of shipping replacement stock no more frequently than once per quarter

•	At least the minimum number of usable equipment spares specified by the manufacturer. Replacements must be delivered to the AT&T central office or AT&T designated location using the equipment spare within five (5) business days of notification that a spare was used or tested defective

•	Identification markings on all circuit packs, spares, test equipment, bays, and any other Collocator owned property provided to AT&T for virtual collocation

•	A storage cabinet or designated shelf for storage of Collocator's spare circuit packs, unique tools, test equipment, etc. used by AT&T to maintain and repair virtually collocated equipment

•	Collocator  will provide prepaid, preaddressed delivery materials to AT&T-

12STATE's to return defective circuit packs and equipment to Collocators designated location or shall make other appropriate arrangements for return shipping

•	The Collocator is responsible for notifying AT&T of significant outages or operations problems that could impact or degrade AT&T network or services and shall provide an estimated time of clearing for

Page | 6

restoration. When trouble has been identified, the Collocator is responsible for providing trouble status reports

•	Collocator is responsible for providing the AT&T personnel a contact number for Collocator technical personnel who are readily accessible 24 hours a day, 7 days a week. In addition, for all activities requiring verbal and written notification per the agreement, the parties will provide the contact numbers included in the application process

AT&T Responsibilities

AT&T has the following responsibilities:

•	AT&T shall notify Collocator as it uses packs from the spares provided by the Collocator so that Collocator may replenish the stock

•	AT&T shall notify Collocator when any other types of replacement parts or equipment are required

•	During repair calls, AT&T's technician shall confirm to Collocator representative when AT&T has used a circuit pack/plug-in or other types of replacement parts or equipment

•	AT&T shall notify Collocator upon discovery that test equipment or tools are damaged or otherwise not functioning properly. Notification shall be given to the Collocator personnel participating in the repair efforts if the discovery is made during the course of a repair, or to a contact specified by the Collocator if the discovery is made at some other time

•	AT&T is responsible for maintaining 7 X 24 maintenance and repair for the Collocator's virtual collocation equipment at the direction of the Collocator at a time and material basis, however, maintenance and repair will be provided on a 7 X 24 basis only if Collocator trains an adequate number of AT&T's employees

•	AT&T is responsible for providing the Collocator personnel a contact number for AT&T technical personnel who are readily accessible 24 hours a day, 7 days a week. In addition, for all activities requiring verbal and written notification per this tariff, the parties will provide the contact numbers included in the application process

•	AT&T will inform the Collocator as soon as practicable by telephone of all emergency-related activities that AT&T or its subcontractors are performing in the general area of the Collocator’s equipment, or in the general area of the AC and DC power plants which support the Collocator’s equipment. If possible, notification of any emergency-related activity will be

Page | 7

made immediately prior to the start of the activity so that the Collocator may take reasonable actions necessary to protect the Collocator’s equipment

Alarm Collection

The Collocator is responsible for the alarm monitoring of virtually collocated equipment and all expenses associated.

Since the maintenance of the Collocator’s equipment is at the direction and control of the Collocator, AT&T will not be responsible for responding to alarms and will only conduct maintenance and repair activities at the direction of the Collocator.

Mean Time Response Interval (MTRI)

AT&T will be responsible for repairing/maintaining Collocator's virtually collocated equipment at the direction of the Collocator with the same diligence it repairs/maintains its own equipment. At a minimum, AT&T agrees to meet service response interval for installation, repair, and/or maintenance as defined below. Collocator will advise the LOC verbally, of the priority level for each trouble report based on the criteria below. The response interval is defined as the time from the conclusion of a trouble report call from Collocator to the LOC, to the time a AT&T technician notifies the Collocator's technical support center from the specified trouble location, of

the Collocator's virtually collocated equipment that the technician is ready to begin

repairs.  Charges to install, repair, maintain and cooperatively test

Collocator's equipment will be on a time and material basis.

The Mean Time Response Intervals (MTRIs) for each priority level follows:

Priority 1 Tickets - (2 hours MTRI Monday through Friday 8:00a.m. to 5:00p.m./ 4hours

MTRI all other times)

•	Any  network  trouble  reports  where  equipment  and  associated  cabling indicates service degradation.  This could include LOS (Loss of Signal), LOF (Loss of Frame), LOP (Loss of Pointer) or excessive errors

•	Telemetry problems causing the loss of surveillance

•	Remote access to the virtually collocated equipment

Priority 2 Tickets (24 hours MTRI)

•	All other major cycling and solid minor non-service affecting report that is not a threat to customer service over night.   Also, issue this type of priority ticket when  a  non-standard  installation  of  plug-in(s)  and/or  circuit  pack(s)  is requested by the Collocator as described in this handbook.

Page | 8

The Mean Time Response Intervals (MTRIs (con’t): Priority 3 Tickets (72 hours MTRI)

•	Minor reports that have been determined not to be an immediate threat to customer service

Priority 4 Tickets (4 business days MTRI)

•	Installation of plug-ins or circuit packs, routine maintenance, etc. as described in this handbook.  When installation is performed by Collocator's AT&T Approved Supplier or Manufacturer, the Collocator will make arrangements with the LOC for a mutual agreed arrangement and escort charges will apply, unless the Collocator's AT&T Approved Supplier has a current existing IA for the job in a central office.  All jobs as described above  that  are  performed  by  AT&T  shall  be  requested  and completed on a case by case basis.

Training Requirements

AT&T will identify the training needs of AT&T personnel from the  list  of  equipment  received  by  the  Collocator  on  the  AT&T  Virtual Application. AT&T will contact Collocator with the required number of AT&T personnel to be trained and the contact name for the Collocator to coordinate training schedules.  The Collocator will be responsible for training the AT&T-

12STATE personnel on the repair and maintenance of the Collocator's equipment, unless: (a) the equipment is already used by AT&T in the Eligible Structure; or (b) AT&T technicians assigned to the Eligible Structure have already been trained on the repair and maintenance of that type of equipment.

If the equipment is already used by AT&T, but Collocator uses the equipment in a different configuration, Collocator will be responsible for any additional training required for repair and maintenance of the equipment in the configuration used by the Collocator.

Collocator will be responsible for the following training provisions:

•	Arrange and pay to the training supplier, all costs for the training sessions, including required course material, transportation, and lodging

•	Pay all costs associated with lodging, transportation local transportation, employees labor rate for time away from job, and per diem, if applicable that is required for AT&T employee to attend training

Page | 9

AT&T may require additional training requirements to adequately provide

7 X 24 hour coverage on the Collocator's virtually collocated equipment when labor resources change for a particular Eligible Structure.   AT&T will notify the Collocator when applicable.

The training for which the Collocator will be responsible includes training for the following functions; to the extent the functions will be performed by AT&T and additional training is necessary:

•	Installation, provisioning, repair, and maintenance of any unique cabling and circuits inside the bay of equipment

•	Use of on-line documentation or schematics unique to the equipment and unlike that commonly used by AT&T

•	Any testing and repair methods and procedures documents utilized by Collocator, consistent with the manufacturer's operations and maintenance (O&M) manual

•	Training when updates of technical publications or equipment information are issued

•	AT&T will work cooperatively with Collocator to schedule and complete the training requirements prior to Collocator's equipment turn-up. When the Collocator provides scheduled training, AT&T is responsible for employee attendance.

The Collocator will provide remote, real-time network technical support, guidance and direction to AT&T for all collocated facilities and equipment using on-line telephone support.

Page | 10