SECTION 6

VIRTUAL

SERVICE PROVISIONING

Table of Contents

General…………………………………….………………………………………… . 1

Inter-connection  Arrangements- APOT/CFA Description………2 Description CFA Format………………………………………………………… 3

Line Sharing CFA Description…………………………………………………..3

This document currently covers the following AT&T Local Exchange Carriers

AT&T-Southwest (Texas, Missouri, Oklahoma, Kansas, and Arkansas)

AT&T-West (California and Nevada)

AT&T-Midwest (Ohio, Wisconsin, Illinois, Michigan and Indiana)

This document currently covers the following AT&T Local Exchange Carriers

AT&T-Southwest (Texas, Missouri, Oklahoma, Kansas, and Arkansas)

AT&T-West (California and Nevada)

AT&T-Midwest (Ohio, Wisconsin, Illinois, Michigan and Indiana)

NOTE: Information supplied in this Handbook is for informational purposes only. For detailed and contractual information please refer to your current contract with AT&T such as ICA’s, Tariffs or other legally binding contracts in your specific region. All such contracts take precedent over information supplied in this handbook document.

NOTE: Information supplied in this Handbook is for informational purposes only. For detailed and contractual information please refer to your current contract with AT&T such as ICA’s, Tariffs or other legally binding contracts in your specific region. All such contracts take precedent over information supplied in this handbook document.

NOTE: With the procurement of new fiber panels that can accommodate more jack positions, the jack field has been increased to (3) digits with this issue.

NOTE: With the procurement of new fiber panels that can accommodate more jack positions, the jack field has been increased to (3) digits with this issue.

SERVICE PROVISIONING

General

During service order negotiation with the Collocator, AT&T will provide the Collocator with the required data to provision the interconnecting switched transport and/or special service access orders. For Virtual Collocation, the point of interface for the access orders will be the Collocator's Common Language Location Identification (CLLl) and cross connect frame address on which the Collocator's virtually collocated facilities terminate.  This address information will be provided by AT&T to the Collocator once the Collocator has paid 100% of the Non-recurring charges associated with the Virtual Collocation Project. After the initial virtual collocation project is complete, the Collocator will order interconnection cross-connects from their designated virtual arrangement to AT&T Unbundled Network Elements or Special Access or Switched Access services or a non-designated conversion arrangement via an Access Service Request (ASR) or Local Service Request (LSR) to AT&T's Circuit Provisioning Center (CPC).

The Collocator is responsible for coordinating with AT&T to ensure that services are installed in accordance with a service request.

Interconnection Arrangements – APOT/CFA Description

In the initial Virtual Collocation application, the Collocator will specify the type and quantity of interconnection arrangements requested.    AT&T will provide the Collocator all physical point of termination address information to subsequently order services from the appropriate tariff or agreement. As the circuits are ordered to the Collocator's equipment, this physical point of termination address information will be specified in the Actual Point of Termination (APOT) field or Connecting Facility Assignment (CFA) on the ASR or LSR form.

DS1  Interconnection Arrangement: AT&T provided arrangement (28

DS1 connections per arrangement) between the Collocator's equipment and AT&T-

12STATE's Network.

DS3 Interconnection Arrangement: AT&T provided arrangement (1DS3 connection per arrangement) between the Collocator's equipment and AT&T's Network.

For DS1 and DS3 interconnection arrangements, AT&T will provide the Actual Point of Termination (APOT) address information consisting of 11or 12 numeric, beginning at the far left hand side of the APOT field (the APOT field length is 11or 12 positions). The 11or 12 numbers in this field represent the floor, aisle, bay, panel and jack information. The APOT field is translated to the 'POl' /FlD on the Service Order and will have the address elements listed above separated by a space.

Note:  The APOT field must be populated by the Collocator to give AT&T the exact termination address information. This information will include floor, aisle, bay,

panel and jack information. This information is needed by AT&T and should appear on the service order.

ASR EXAMPLE: APOT l0l4l0l1l0l2l2l2I0l1l4l

SVC ORD EXAMPLE: / POl; 04 010 22 2014 (114)

l	|	|	|	|-->Jack (2 or 3 positions)

l	|	|	|--> Panel (2 positions)

l	|	|--> Bay (2 positions)

|	|-> Aisle (3 positions)

|-> Floor (2 positions)

DSO/DSL Non-shielded Copper Cable Interconnection Arrangement: AT&T-

12STATE	provided	arrangement	(100	copper	non-shielded	connections	per arrangement) between the Collocator's equipment and AT&T's Network.

DSO/DSL  Shielded  Copper  Cable  Interconnection  Arrangement:  AT&T-

12STATE provided arrangement (100 copper shielded connections per arrangement)

between the Collocator's equipment and AT&T's Network.

Fiber Interconnection Arrangement: AT&T provided arrangement (12 fiber connections per arrangement) between the Collocator's equipment and AT&T-

12STATE's Network.

For DSO/DSL Copper Cable, Shielded Cable and Fiber interconnection arrangements,   AT&T   will   provide   the   cross-connect   frame   address information in the form of a Connecting Facility Assignment (CFA) field. The Collocator must use the following CFA format to select the collocator's interface cable and pair(s) via an ASR or LSR. The CFA field is translated to the Service Order.

Note:  The CFA field must be populated on the Service Order to give AT&T

the exact termination address information.

The CFA format is described in Table A on the following page.  The CFA format consists of the following fields:

"Cable Designation / Cable Type / Pair # / CLLI Loc A / CLLI Loc Z"

Following are examples of the Collocator cable assignment CFA for:

DSO/DSL Non-shielded Copper Cable order:

HA101 / 26-NL / 12345 / STLSMO01 /STLSMO01HA1 (Collocator #1)

DSO/DSL Shielded Copper Cable order:

HA102/ 26-STP / 12345 / STLSMO01 /STLSMO01HA1 (Collocator #1)

2

Fiber Interconnection order:

HA201 / LG-LGS / 12345 / STLSMO01 /STLSMO01HA2 (Collocator #1)

Table A DESCRIPTION OF CFA FORMAT

| CFA Field | Description |
| --- | --- |
| Cable Designation (5 Characters) | First 3 characters = the 9th, 10th & 11th characters of the collocator's CLLI. The 4th & 5th characters = the Cable ID. Cable ID as follows: ♦ (Range 01-99, 01 for 1st cable of Collocator, "02" for 2nd cable of Collocator, etc…) |
| Cable Type (Up to 6 Characters) | Cable Type as follows: 1. Non-Shielded Interconnection Arrangement = "26-NL" 2. Fiber Interconnection Arrangement = "LG- LGS" 3. Shielded Interconnection Arrangement = "26-STP" |
| Pair # (up to 5 Characters, delete leading zeros) | Pair #'s (1-99999) |
| CLLI Location A (Up to 8 Characters) | CO CLLI Code |
| CLLI Location Z (Up to 11 Characters) | Collocator CLLI Code |

Line Sharing CFA Description

Line Sharing CFA will be provided in two ways: CLEC owned POTS-SPLITTER

SPLT.IRNNNNN.ANN.NN-NNN = Splitter MEOE.IRNNNNN.ANN.NN-NNN = Line MECP.IRNNNNN.ANN.NN-NNN = Voice

AT&T owned POTS-SPLITTER

"Cable Designation/Cable Type/Pair #/CLLI Loc A/CLLI Loc Z"

Refer to Appendix A & G (CLEC Online web-site) for Collocation Line Sharing

Guidelines.

3