20 INSIDE WIRE - NON-BASIC

## 20.1 Inside Wire - Non-Basic

20.1.1 Description

Basic Service Features

Non-Basic Inside Wire is a non-regulated service and is defined as all telecommunications wire and associated material (whether station wire or cable) that is located on the customer's side of the network interface or demarcation point on the same premises that has been determined not to be Basic Inside Wire.

The term Non-Basic Inside Wire as specified herein is defined as service terminating in a communications system such as Key, PBX, Centrex, ESSX®, MultiServ®, Foreign Exchange, Telephone Answering Service, Special Services, WATS, access lines for Customer Provided Public Telephones and Off Premise Extensions associated with Non-Basic Service.

Basic Service Capabilities and Restrictions

All wire beyond the network interface, regardless of the type of jack used for that network interface, is inside wire and must be billed accordingly.

Customer requested installation of Non-Basic Inside Wire is provided on a per termination basis depending on the nature of the request. Each termination includes the wire and miniature modular jack. Any other jack will be billed in addition to the per termination price.

Basic Inside Wire is a regulated service and is defined as all telecommunications wire and associated material (whether station wire or cable) that is located on the customer's side of the network interface or demarcation point, on the same premises associated with Business or Residence individual or party line service. This excludes ESSX®, Centrex, MultiServ®, WATS Access Lines for Customer Provided Public Telephones, Telephone Answering Service, Special Services, and all services which terminate in a customer premises communications system (Key, PBX, etc.)

When a customer wishes to reuse (activate) wire termination's that already exist, the Reuse Wire Charge applies per termination activated or tested.

A pre-survey is required on all Non-Basic Inside Wire service orders with 25 or more terminations.

Where Non-Basic unit pricing cannot be applied to cut-over and rearrangement of inside wire, Time and Materials charges apply.

No service ordering charges apply on a pure deregulated service order. On orders service orders with a mixture of regulated and deregulated services, a service ordering charge applies as appropriate from the GSST, Section A4.

Premise extensions on non-basic customers for existing channels between buildings on the same premises are at the regulated non-recurring and monthly charges as provided in the GSST. Customers may activate channels from these facilities as long as spare capacity is available. When it is determined that no spare capacity is available, or there are existing channels between the buildings, new installations are provided as deregulated Non-Basic inside Wire.

Off Premises extenuation are provided as private lines; therefore, Non-Basic Inside Wire charges apply from the first point of penetration or network interface. Once the first termination is connected for an off premises extenuation, all extensions of that termination are considered Non-Basic Inside Wire.

The following definitions help to clarify aspects of Non -Basic Inside Wire:

Plenum Wire - Wire with a plastic coating that meets national smoke and fire retardant standards. (Plenum Wire may also be referred to as Shielded Wire) . Most new buildings are by law to have this type of inside wire. If the customer's building has a dropped ceiling with air conditioning vents, plenum wire is required.

Non-Plenum Wire - Wire that does not meet national smoke and fire retardant standards.

Customary Wiring-All prices include labor to run up to 150 feet of wire, termination of a jack on the station end, termination on a 66 type block or equivalent at the equipment room end and all associated materials based on normal conditions.

Non-Customary Wiring- Additional and/or Time charges will apply when extraordinary abnormal situations are encountered. Major exceptions to normal conditions are:

- Runs in excess of 150 feet in length.

- Runs through concrete, cinder block, steel or firewalls.

- Runs in ceilings in excess of 10 feet in height or difficult to gain access.

- The fishing of walls which are obstructed with insulation cross braces or insufficient clearance.

Premises (Same) - The term “Same Premises” shall be interpreted to mean:

- Building or buildings, together with the surrounding land occupied or used in the conduct of one establishment or business , or as a residence, and not intersected by a public thoroughfare or by property occupied by others;

- The portion of the building occupied by the subscriber, either in the conduct of his business or as a residence, and not intersected by a public corridor or by space occupied by others;

- The building or portion of a building occupied by the subscriber in the conduct of his business and as a residence provided both residence and business bear the same address.

On Premises Extension Wire-A wire termination located in a unit or structure other than the unit or structure where the main service enters, but on the same premises.

Off Premises Extension Wire-A wire termination located at a different building at a different address from the main service.

Demarcation Point

The point where the TELCO wire connects to customer premises wire. The Demarcation Point is usually a network interface. This point may be inside or outside the customer’s structure.

The Network Interface is a registration program jack and plug arrangement or its equivalent, which serves as a demarcation or separation point. It is provided to allow the modular connection of premises wire to the access line.

Equipment manufacturer are required to provide the purchasers of FCC Registered Equipment with the USOC for the jack which should be used for connecting the terminal equipment to the Telephone Company provided network facilities.

When a customer requests a 50 position jack as a network interface and a 50 position deregulated jack on the equipment side, when the inside wiring is done by the company a 25 pair cable is required for placement of wire (including labor and termination' s) from 
the 50-position network interface jack to the customer's equipment. This charge is in addition to the appropriate termination charges (NONB4, NONB5, etc.)

Out-Of-Hours Labor Pricing-All service pricing is based on the work being performed during AT&T Southeast’s normal business hours, 8:00AM-5:00PM, Monday through Friday, excluding company designated holidays. Customer’s requests for out of hour installation activities will incur a surcharge.

(Refer to Operational Understanding)

#### 20.1.1.1 Ordering Considerations

The following information is needed to order Non-Basic Inside Wire Service:

- Bill name, address and contact number

- End user name , service address

- End user circuit ID or telephone number

- Type of Non-Basic Inside Wire service needed for that circuit ID or telephone number

- Name of person authorizing the work to be done

- Access details

- Where circuit is to be terminated

- Provisioning information on the jack

- Desired due date

### 20.1.2 Restrictions

AT&T Southeast Region reserves the right to refuse to install or maintain wire in a location where the safety of workers or continuity of service might, in the opinion of the company, is questionable. The charge for Inside Wire applies per request and per premises.

A premises Visit Charge will apply anytime a field technician goes to a customer's premises to do adds, moves, changes, rearrangement or removals. (A regulated Premises Visit Charge may also be applicable when a service order has a mixture of regulated and de-regulated services.)

There is also a minimum service charge that applies when the charges (other than the Premise Visit Charge) from the Non-Basic Inside Wire work are not equal to or greater than the minimum service charge.

### 20.1.3 Tariff References

Not applicable

### 20.1.4 USOC / FID References

See USOC/Feature Table. No FIDs required.

Table 202. INSIDE WIRING-NON BASIC-NON REGULATED USOC Feature Table

USOCS AND DESCRIPTION USOC DESCRIPTION-CUSTOMARY WIRING NUMBER OF TREMINATIONS NONB1 VISIT TO CUSTOMER'S PREMISES NONB2 SET AS A MINIMUM FOR SERVICES RENDERED NONB3 TESTING, VERIFYING AND REUSE OF AN EXISTING CUSTOMER'S WIRE (PER TERMINATION) NONB4 JACK & FACE PLATE ( INCLUDES LABOR FOR PLACING THE WIRE AND TERMINATION'S UNDER STANDARD CONDITIONS NOT EXCEED 150FT) PER TERMINATION 4 PAIR OR LESS NON-PLENUM 1-50 TERMINATION' S NONB5 JACK & FACE PLATE ( INCLUDES LABOR FOR PLACING THE WIRE AND TERMINATION'S UNDER STANDARD CONDITIONS NOT EXCEED 150FT) PER TERMINATION 4 PAIR OR LESS NON PLENUM 51 OR MORE TERMINATION'S NONB6 JACK & FACE PLATE ( INCLUDES LABOR FOR PLACING THE WIRE AND TERMINATION'S UNDER STANDARD CONDITIONS NOT EXCEED 150FT) PER TERMINATION 4 PAIR OR LESS PLENUM* 1-50 TERMINATION'S NONB7 JACK & FACE PLATE ( INCLUDES LABOR FOR PLACING THE WIRE AND TERMINATION'S UNDER STANDARD CONDITIONS NOT EXCEED 150FT) PER TERMINATION 4 PAIR OR LESS PLENUM* 51 OR MORE TERMINATION'S NONBA CHARGE FOR PLACEMENT OF WIRE INCLUDING LABOR AND TERMINATION'S NOT TO EXCEED 150FT 25 PAIR NON PLENUM NONBB CHARGE FOR PLACEMENT OF WIRE INCLUDING LABOR AND TERMINATION'S NOT TO EXCEED 150FT 25 PAIR PLENUM* USOC DESCRIPTION-NON-CUSTOMARY WIRING NONB8 CHARGE FOR PLACEMENT OF ADDITIONAL LENGTHS OF WIRE IN EXCESS OF 150FT PER LENGTH NONB9 CHARGE FOR THE PENETRATION OF AN INTERNAL WALL TO ALLOW THE PASSAGE OF STATION WIRE TO A TERMINATION POINT

Table 203. NON-BASIC INSIDE WIRING USOCS Feature Table

JACKS - MINIATURE MODULAR USOC DESCRIPTION RJ1DC BRIDGED SINGLE LINE 4-WIRE T/R AND T1/R1 RJ11C BRIDGED SINGLE 2-WIRE T/R, SURFACE OR FLUSH MOUNTED, BASEBOARD RJ11W BRIDGED SINGLE 2-WIRE T/R, SURFACE OR FLUSH MOUNTED, WALL RJ12C BRIDGED SINGLE LINE 2-WIRE T/R AHEAD OF THE LINE CIRCUIT WITH A LEAD CONTROL, SURFACE OR FLUSH MOUNTED, BASEBOARD RJ12W BRIDGED SINGLE LINE 2-WIRE T/R AHEAD OF THE LINE CIRCUIT WITH A LEAD CONTROL, SURFACE OR FLUSH MOUNTED, WALL RJ13C BRIDGED SINGLE LINE T/R BEHIND THE LINE CIRCUIT WITH A LEAD CONTROL, SURFACE OR FLUSH MOUNTED BASEBOARD RJ13W BRIDGED SINGLE LINE T/R BEHIND THE LINE CIRCUIT WITH A LEAD CONTROL, SURFACE OR FLUSH MOUNTED WALL RJ17C BRIDGED SINGLE LINE 2-WIRE T/R FOR USE IN HOSPITAL CRITICAL AREAS RJ18W BRIDGED SINGLE LINE 2-WIRE T/R WITH MAKE BUSY (MB/MB1 LEADS) 6 POSITION, SURFACE OR FLUSH MOUNTED, WALL RJ18C BRIDGED SINGLE LINE 2-WIRE T/R WITH MAKE BUSY (MB/MB1 LEADS) 6 POSITION, SURFACE OR FLUSH MOUNTED, BASEBOARD RJ19C BRIDGED CIRCUIT WITH A LEAD CONTROL AND MAKE BUSY (MB/MB1 LEADS) BASEBOARD RJ19W BRIDGED SINGLE LINE T/R BEHIND THE LINE CIRCUIT WITH A LEAD CONTROL AND MAKE BUSY (MB/MB1 LEADS) WALL RJ14C BRIDGED 2-LINE 2-WIRE T/R, SURFACE OR FLUSH MOUNTED, BASEBOARD, INCLUDING MESSAGE REGISTRATION (MR), AUTOMATIC IDENTIFICATION OUTWARD DIALING (AIOD), AND OFF-PREMISES STATION (OPS), 6 POSITION. RJ14W BRIDGED 2-LINE 2-WIRE T/R, SURFACE OR FLUSH MOUNTED, WALL, INCLUDING MESSAGE REGISTRATION (MR), AUTOMATIC IDENTIFICATION OUTWARD DIALING (AIOD), AND OFF-PREMISES STATION(OPS), 6 POSITION. RJ25C BRIDGED UP TO 3 LINES T/R, INCLUDING MESSAGE REGISTRATION (MR), AUTOMATIC IDENTIFICATION (AIOD), AND OFF PREMISES (OPS) 6 POSITION. RJ61X BRIDGED UP TO 4 LINES T/R, MINIATURE 8 POSITION JACK USOC 50 POSITION JACKS (MULTILINE) RJ2EX 2-WIRE T/R UP TO 12 TIE TRUNKS WITH E&M TYPE 1 SIGNALING RJ2FX 2 WIRE T/R UP TO 18 TIE TRUNKS WITH E&M TYPE II SIGNALING RJ2MB 2 WIRE T/R UP TO 12 LINES WITH MAKE BUSY ARRANGEMENT RJ21X 2 WIRE T/R UP TO 25 LINES, 2 WIRE T/R ONLY RJ2DX RJ2DX 4 WIRE T/R, T1/R1 UP TO 12 LINES, EXCHANGE ACCESS RJ2GX 4 WIRE T/R, T1/R1, UP TO 8 TIE TRUNKS WITH E&M TYPE 1 SIGNALING USOC 50 POSITION JACKS (MULTILINE) RJ2HX 4 WIRE T/R, T1/R1, UP TO 6 TIE TRUNKS WITH E&M TYPE II SIGNALING RJ26X MULTI LINE DATA NI 2 WIRE T/R, 50 POSITION MINIATURE RIBBON CONNECTION UP TO 8 LINES, FOR LOSS AND PROGRAMMABLE DATA RJ27X MULTI LINE DATA NI 2 WIRE T/R, 50 POSITION MINIATURE RIBBON CONNECTION PROGRAMMED DATA FOR UP TO 8 LINES RJ48M MULTI LINE DATA NI 4 WIRE T/R, 50 POSITION MINIATURE RIBBON CONNECTION UP TO 8 LINES, FOR 1.544MBPS DIGITAL SERVICE RJ48H MULTI LINE DATA NI 4-WIRE T/R, T1/R1, 50 POSITION MINIATURE RIBBON CONNECTION UP TO 12 LINES, LOCAL CHANNEL/SUB RATE DIGITAL